702-DPW-595 PERMANENT METAL FORM FOR BRIDGE DECKS

The Standard Specifications are revised as follows:

SECTION 702, BEGIN LINE 618, DELETE AND INSERT AS FOLLOWS:

2. Permanent

Permanent metal forms shall not be used.

Fabricated permanent metal forms for concrete deck slabs may be used as an alternate method of forming on a steel beam, steel girder, prestressed concrete           I-beam, prestressed concrete spread box beam, or prestressed concrete bulb-T beam bridge. Permanent metal forms shall not be removed, and shall otherwise be in accordance with the applicable requirements of this section.

The metal forms shall be designed on the basis of dead load of form, reinforcing bars, and plastic concrete plus 50 lbs/sq ft for construction loads. The unit working stress in the steel sheet shall be not more than 0.725 of the specified minimum yield strength of the material furnished but not to exceed 36,000 psi. Deflection under the weight of the forms, the plastic concrete and reinforcing bars shall not exceed 1/180 of the form span or 1/2 in. whichever is less. However, the deflection loading shall not be less than 120 lbs/sq ft total. The allowable form camber shall be based on the actual dead load condition. Camber shall not be used to compensate for deflection in excess of the foregoing limits. The design span of the form sheets shall be the clear span of the form plus 2 in. measured parallel to the form flutes. If the design span of the form sheets exceeds 9.5 ft, concrete will not be allowed to be placed in the valleys of the corrugations of the metal forms. Physical design properties shall be computed in accordance with requirements of the American Iron and Steel Institute Specifications for the Design of Cold Formed Steel Structural Members.

All reinforcing bars shall have a minimum clearance of 1 in. from the forms. The plan dimensions from the top surface for all primary deck reinforcing bars shall be maintained. The deck reinforcing bars shall be tied down at a maximum of 6 ft centers. Permanent metal forms shall not remain in place closer than 1 ft from any joint exposed to the underside of the slab, except when an overlay is used on the deck.

Fabricator’s working drawings shall be submitted for approval. These drawings shall indicate the grade of steel and the physical and section properties for all permanent metal bridge deck form sheets. If the bridge is a steel beam or steel girder structure, these drawings shall also include a clear indication of locations where the forms are supported by steel beam flanges subject to tensile stress. The drawings shall be certified by a registered professional engineer prior to submittal.

Form sheets shall not rest directly on the top of the beam flanges. Sheets shall be securely fastened to form supports and shall have a minimum bearing length of 1 in. at each end. All attachments shall be made by welds, bolts, clips, or other approved means. Except as amended by these specifications, welding and welds shall be in accordance with the requirements of 711.32 pertaining to fillet welds. However, 1/8 in. fillet welds will be allowed.

Form supports at steel beam or girder bridges shall be placed in direct contact with the top flange of the beam or girder and shall be adjusted to maintain the required deck thickness.  If straps are used on the top flanges, the straps shall be No. 8 gage thick, fit tight, and shall not be galvanized. Form supports shall not be welded to flanges of non-weldable grades of steel or to steel flanges subject to tensile stresses.

Form supports at prestressed concrete I-beam, prestressed concrete spread box beam, and prestressed concrete bulb-T beam bridges shall be placed in direct contact with the sides of the box or edge of the I-beam or bulb-T beam flange and shall be adjusted to maintain the required deck thickness. The form supports may be attached to steel inserts cast into the top of the box, I-beam, or bulb-T beam, straps extending across the top of the flange, hangers mechanically attached to reinforcing bars extending from the top flange, or by other approved methods. If straps are used across the top flange, they shall be No. 8 gage thick, fit tight, and shall not be galvanized. Attachments shall not be welded directly to beam reinforcement. In addition, the use of recesses cast into the beam to serve as a form supports will not be allowed.

All permanently exposed form metal, where the galvanized coating has been damaged, shall be thoroughly and satisfactorily cleaned, wire brushed, and painted with two coats of zinc oxide-zinc dust primer in accordance with Federal Specification MIL-P-2441, type II, with no color added. Minor heat discoloration in areas of welds need not be touched up.

Concrete shall be placed in accordance with 702.20. Particular emphasis should be placed on proper vibration of the concrete to avoid honeycombs and voids, especially at construction joints, expansion joints, attachment hardware, and valleys and ends of form sheets. Pouring sequences, procedures, and mixes shall be submitted for approval.

If it is determined that the procedures used during the placement of the concrete warrant inspection of the underside of the deck, at least one section of the forms shall be removed at a location and time selected for each span in the contract. This is to be done as soon after placing the concrete as practical in order to provide visual evidence that the concrete mix and the procedures are obtaining the desired results. An additional section shall be removed if it is determined that there has been any change in the concrete mix or in the procedures warranting additional inspection.

After the deck concrete has been in place for a minimum of two days, the concrete shall be tested for soundness and bonding to the forms by sounding with a hammer as directed. If areas of doubtful soundness are disclosed by this procedure, the forms shall be removed from such areas for visual inspection after the pour has attained adequate strength. This removal of the permanent metal bridge deck forms shall be with no additional payment. At locations where sections of the forms are removed, form replacement will not be required, but the adjacent metal forms and supports shall be repaired to present a neat appearance and ensure their satisfactory retention. As soon as the form is removed, the concrete surfaces will be examined for cavities, honeycombs, and other defects. If irregularities are found, and it is determined that these irregularities do not justify rejection of the work, the concrete shall be repaired as directed and shall be given a finish in accordance with 702.21. If the concrete where the form is removed is unsatisfactory, additional forms, as necessary, shall be removed to inspect and repair the slab, and the methods of construction shall be modified as required to obtain satisfactory concrete in the slab. All unsatisfactory concrete shall be removed or repaired as directed.

The amount of sounding and form removal may be moderated as directed after a substantial amount of slab has been constructed and inspected, if the methods of construction and the results of the inspections as outlined above indicate that sound concrete is being obtained throughout the slabs. All facilities shall be provided as are required for the safe and convenient conduct of inspection procedures.

SECTION 702, BEGIN LINE 1457, DELETE AS FOLLOWS:

The cost of permanent metal forms shall be included in the cost of concrete, C, superstructure. The pay quantity of concrete in the slab will be computed from the dimensions shown on the plans, with no allowance for form deflection or geometry.

______________________________________________________________________________