720-DPW-003 SANITARY MANHOLE VACUUM TESTING

All new sanitary manholes shall be tested for infiltration by means of a Negative Air (Vacuum) Pressure test, in accordance with the CEG Sanitary Standards Manual.

______________________________________________________________________________